## Standard Curve Result
File Name | HZ22_FEC_Crypto_Plate3.eds
Comment
Operator | DEFAULT
Barcode
Instrument Type | QuantStudio™ 1 System
Block Type | 96-Well 0.2-mL Block
Instrument Name | 2721220100840
Instrument Serial Number | 2721220100840
Heated Cover Serial Number
Block Serial Number
Run Start Date/Time | 2022-09-26 01:14:49 PM UTC
Run End Date/Time | 2022-09-26 02:15:59 PM UTC
Run Duration | 61 minutes 10 seconds
Sample Volume | 20.0
Cover Temperature | 105.0
Passive Reference | ROX
PCR Stage/Step Number | Stage 2 Step 2
Quantification Cycle Method | CT
Analysis Date/Time | 2022-09-27 12:43:10 PM UTC
Software Name and Version | Design & Analysis Software v2.6.2
Plugin Name and Version | Primary Analysis v1.7.0, Standard Curve v1.6.0
Exported By | guest
Exported On | 2022-09-27 12:43:18 PM UTC
Well | Well Position | Sample | Quantity | Target | Dye | Task | Reporter | Quencher | Amp Status | Cq | Cq Mean | Cq Confidence | Cq SD | Quantity Mean | Quantity SD | Auto Threshold | Threshold | Auto Baseline | Baseline Start | Baseline End | Tm1 | Tm2 | Tm3 | Tm4 | Y-Intercept | R2 | Slope | Efficiency | Standard Deviation | Standard Error | Omit
1 | A1 | AA_1020 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
2 | A2 | AA_1020 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
3 | A3 | AA_1020 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
4 | A4 | AA_1028 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 33.8826 | 34.4638 | 0.86192 | 1.0114 |  |  | TRUE | 0.053221 | TRUE | 3 | 30 | [10 empty] | FALSE
5 | A5 | AA_1028 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 35.6316 | 34.4638 | 0.74108 | 1.0114 |  |  | TRUE | 0.053221 | TRUE | 3 | 32 | [10 empty] | FALSE
6 | A6 | AA_1028 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 33.8772 | 34.4638 | 0.93455 | 1.0114 |  |  | TRUE | 0.053221 | TRUE | 3 | 31 | [10 empty] | FALSE
7 | A7 | ZZ_0089 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 35.2159 | 34.3602 | 0.79086 | 1.2858 |  |  | TRUE | 0.053221 | TRUE | 3 | 31 | [10 empty] | FALSE
8 | A8 | ZZ_0089 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 34.9831 | 34.3602 | 0.88083 | 1.2858 |  |  | TRUE | 0.053221 | TRUE | 3 | 32 | [10 empty] | FALSE
9 | A9 | ZZ_0089 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.8816 | 34.3602 | 0.88263 | 1.2858 |  |  | TRUE | 0.053221 | TRUE | 3 | 30 | [10 empty] | FALSE
10 | A10 | 625.000 | 625000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 23.855 | 22.868 | 0.97137 | 0.97753 |  |  | TRUE | 0.28713 | TRUE | 3 | 18 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
11 | A11 | 625.000 | 625000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 22.849 | 22.868 | 0.97438 | 0.97753 |  |  | TRUE | 0.28713 | TRUE | 3 | 17 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
12 | A12 | 625.000 | 625000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 21.9002 | 22.868 | 0.98164 | 0.97753 |  |  | TRUE | 0.28713 | TRUE | 3 | 14 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
13 | B1 | AA_1021 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.2725 | 29.8777 | 0.97984 | 0.36115 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
14 | B2 | AA_1021 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.7965 | 29.8777 | 0.94857 | 0.36115 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
15 | B3 | AA_1021 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.564 | 29.8777 | 0.91046 | 0.36115 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
16 | B4 | CB_001 |  | Unknown | FAM | UNKNOWN | FAM | None | Inconclusive | 38.6428 | 38.6428 | 0.045301 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 34 | [10 empty] | FALSE
17 | B5 | CB_001 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 38.6428 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
18 | B6 | CB_001 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 38.6428 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
19 | B7 | ZZ_0090 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
20 | B8 | ZZ_0090 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
21 | B9 | ZZ_0090 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
22 | B10 | 78.125 | 78125 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 27.4568 | 27.2495 | 0.96014 | 0.34147 |  |  | TRUE | 0.28713 | TRUE | 3 | 22 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
23 | B11 | 78.125 | 78125 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 27.4363 | 27.2495 | 0.96835 | 0.34147 |  |  | TRUE | 0.28713 | TRUE | 3 | 23 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
24 | B12 | 78.125 | 78125 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 26.8554 | 27.2495 | 0.97657 | 0.34147 |  |  | TRUE | 0.28713 | TRUE | 3 | 21 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
25 | C1 | AA_1022 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.6835 | 29.6608 | 0.93864 | 0.072437 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
26 | C2 | AA_1022 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.5798 | 29.6608 | 0.94016 | 0.072437 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
27 | C3 | AA_1022 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.7192 | 29.6608 | 0.94051 | 0.072437 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
28 | C4 | CB_002 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
29 | C5 | CB_002 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
30 | C6 | CB_002 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
31 | C7 | ZZ_0091 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
32 | C8 | ZZ_0091 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
33 | C9 | ZZ_0091 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
34 | C10 | 9765 | 9765 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 31.6045 | 31.2622 | 0.96109 | 0.47797 |  |  | TRUE | 0.28713 | TRUE | 3 | 26 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
35 | C11 | 9765 | 9765 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 31.4659 | 31.2622 | 0.96031 | 0.47797 |  |  | TRUE | 0.28713 | TRUE | 3 | 26 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
36 | C12 | 9765 | 9765 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 30.7161 | 31.2622 | 0.97591 | 0.47797 |  |  | TRUE | 0.28713 | TRUE | 3 | 25 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
37 | D1 | AA_1023 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.1634 | 30.2198 | 0.96585 | 0.37027 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
38 | D2 | AA_1023 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.6151 | 30.2198 | 0.8908 | 0.37027 |  |  | TRUE | 0.053221 | TRUE | 3 | 28 | [10 empty] | FALSE
39 | D3 | AA_1023 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.881 | 30.2198 | 0.92587 | 0.37027 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
40 | D4 | CB_003 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 35.2566 | 35.2566 | 0.7078 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 32 | [10 empty] | FALSE
41 | D5 | CB_003 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.2566 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
42 | D6 | CB_003 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.2566 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
43 | D7 | ZZ_0092 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
44 | D8 | ZZ_0092 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
45 | D9 | ZZ_0092 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
46 | D10 | 1221 | 1221 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 35.0161 | 33.98 | 0.93041 | 1.0726 |  |  | TRUE | 0.28713 | TRUE | 3 | 30 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
47 | D11 | 1221 | 1221 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 34.0495 | 33.98 | 0.93956 | 1.0726 |  |  | TRUE | 0.28713 | TRUE | 3 | 28 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
48 | D12 | 1221 | 1221 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 32.8743 | 33.98 | 0.96124 | 1.0726 |  |  | TRUE | 0.28713 | TRUE | 3 | 27 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
49 | E1 | AA_1024 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 37.4144 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
50 | E2 | AA_1024 |  | Unknown | FAM | UNKNOWN | FAM | None | Inconclusive | 37.4144 | 37.4144 | 0.29803 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 32 | [10 empty] | FALSE
51 | E3 | AA_1024 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 37.4144 | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
52 | E4 | CB_004 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.7815 | 29.6469 | 0.89956 | 0.134 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
53 | E5 | CB_004 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.5135 | 29.6469 | 0.91811 | 0.134 |  |  | TRUE | 0.053221 | TRUE | 3 | 25 | [10 empty] | FALSE
54 | E6 | CB_004 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.6457 | 29.6469 | 0.88026 | 0.134 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
58 | E10 | 153 | 153 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined | 37.4234 | 0 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 39 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
59 | E11 | 153 | 153 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 37.4234 | 37.4234 | 0.85702 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 31 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
60 | E12 | 153 | 153 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined | 37.4234 | 0 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 39 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
61 | F1 | AA_1025 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.3109 | 30.1408 | 0.9531 | 0.3772 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
62 | F2 | AA_1025 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.403 | 30.1408 | 0.93891 | 0.3772 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
63 | F3 | AA_1025 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.7085 | 30.1408 | 0.92116 | 0.3772 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
64 | F4 | CB_005 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 31.6159 | 31.8299 | 0.75 | 0.24522 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
65 | F5 | CB_005 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 31.7765 | 31.8299 | 0.75513 | 0.24522 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
66 | F6 | CB_005 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.0975 | 31.8299 | 0.76258 | 0.24522 |  |  | TRUE | 0.053221 | TRUE | 3 | 30 | [10 empty] | FALSE
70 | F10 | 10 | 10 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 39 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
71 | F11 | 10 | 10 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 39 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
72 | F12 | 10 | 10 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.28713 | TRUE | 3 | 39 |  |  |  |  | 46.7571 | 0.9737 | -4.0436 | 76.7272 | 0.82459 | 0.20039 | FALSE
73 | G1 | AA_1026 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.4276 | 30.3489 | 0.98328 | 0.32488 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
74 | G2 | AA_1026 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.6272 | 30.3489 | 0.94561 | 0.32488 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
75 | G3 | AA_1026 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.9919 | 30.3489 | 0.95063 | 0.32488 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
76 | G4 | ZZ_0087 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
77 | G5 | ZZ_0087 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
78 | G6 | ZZ_0087 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.053221 | TRUE | 3 | 39 | [10 empty] | FALSE
85 | H1 | AA_1027 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 30.3579 | 29.9051 | 0.98584 | 0.40527 |  |  | TRUE | 0.053221 | TRUE | 3 | 26 | [10 empty] | FALSE
86 | H2 | AA_1027 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.7812 | 29.9051 | 0.97551 | 0.40527 |  |  | TRUE | 0.053221 | TRUE | 3 | 27 | [10 empty] | FALSE
87 | H3 | AA_1027 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 29.5763 | 29.9051 | 0.97914 | 0.40527 |  |  | TRUE | 0.053221 | TRUE | 3 | 25 | [10 empty] | FALSE
88 | H4 | ZZ_0088 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 27.1863 | 26.4644 | 0.91091 | 0.63568 |  |  | TRUE | 0.053221 | TRUE | 3 | 24 | [10 empty] | FALSE
89 | H5 | ZZ_0088 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 26.2183 | 26.4644 | 0.8633 | 0.63568 |  |  | TRUE | 0.053221 | TRUE | 3 | 22 | [10 empty] | FALSE
90 | H6 | ZZ_0088 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 25.9885 | 26.4644 | 0.87196 | 0.63568 |  |  | TRUE | 0.053221 | TRUE | 3 | 22 | [10 empty] | FALSE
94 | H10 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE
95 | H11 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE
96 | H12 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE