## Standard Curve Result
File Name | HZ19_ILWE_Crypto_Plate4.eds
Comment
Operator | DEFAULT
Barcode
Instrument Type | QuantStudio™ 1 System
Block Type | 96-Well 0.2-mL Block
Instrument Name | 2721220100840
Instrument Serial Number | 2721220100840
Heated Cover Serial Number
Block Serial Number
Run Start Date/Time | 2021-05-27 12:05:36 PM UTC
Run End Date/Time | 2021-05-27 01:06:15 PM UTC
Run Duration | 60 minutes 39 seconds
Sample Volume | 20.0
Cover Temperature | 105.0
Passive Reference | ROX
PCR Stage/Step Number | Stage 2 Step 2
Quantification Cycle Method | CT
Analysis Date/Time | 2022-09-27 03:52:22 PM UTC
Software Name and Version | Design & Analysis Software v2.6.2
Plugin Name and Version | Primary Analysis v1.7.0, Standard Curve v1.6.0
Exported By | guest
Exported On | 2022-09-27 03:52:37 PM UTC
Well | Well Position | Sample | Quantity | Target | Dye | Task | Reporter | Quencher | Amp Status | Cq | Cq Mean | Cq Confidence | Cq SD | Quantity Mean | Quantity SD | Auto Threshold | Threshold | Auto Baseline | Baseline Start | Baseline End | Tm1 | Tm2 | Tm3 | Tm4 | Y-Intercept | R2 | Slope | Efficiency | Standard Deviation | Standard Error | Omit
1 | A1 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 22.1796 | 22.1976 | 0.99043 | 0.028995 |  |  | TRUE | 0.20872 | TRUE | 3 | 16 | [10 empty] | FALSE
2 | A2 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 22.182 | 22.1976 | 0.98726 | 0.028995 |  |  | TRUE | 0.20872 | TRUE | 3 | 16 | [10 empty] | FALSE
3 | A3 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 22.231 | 22.1976 | 0.98404 | 0.028995 |  |  | TRUE | 0.20872 | TRUE | 3 | 17 | [10 empty] | FALSE
4 | A4 | AA_0773 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
5 | A5 | AA_0773 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
6 | A6 | AA_0773 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
7 | A7 | AA_0717 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
8 | A8 | AA_0717 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
9 | A9 | AA_0717 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
10 | A10 | AA_0786 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
11 | A11 | AA_0786 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
12 | A12 | AA_0786 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
13 | B1 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 25.5098 | 25.4064 | 0.98626 | 0.12368 |  |  | TRUE | 0.20872 | TRUE | 3 | 21 | [10 empty] | FALSE
14 | B2 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 25.2694 | 25.4064 | 0.98179 | 0.12368 |  |  | TRUE | 0.20872 | TRUE | 3 | 19 | [10 empty] | FALSE
15 | B3 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 25.44 | 25.4064 | 0.97865 | 0.12368 |  |  | TRUE | 0.20872 | TRUE | 3 | 19 | [10 empty] | FALSE
16 | B4 | AA_0801 I |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 33.5276 | 33.5881 | 0.97268 | 0.68843 |  |  | TRUE | 0.04 | TRUE | 3 | 31 | [10 empty] | FALSE
17 | B5 | AA_0801 I |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.9319 | 33.5881 | 0.95932 | 0.68843 |  |  | TRUE | 0.04 | TRUE | 3 | 30 | [10 empty] | FALSE
18 | B6 | AA_0801 I |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 34.3048 | 33.5881 | 0.90754 | 0.68843 |  |  | TRUE | 0.04 | TRUE | 3 | 31 | [10 empty] | FALSE
19 | B7 | AA_0848 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
20 | B8 | AA_0848 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
21 | B9 | AA_0848 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
22 | B10 | AA_0784 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
23 | B11 | AA_0784 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
24 | B12 | AA_0784 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
25 | C1 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 28.2807 | 28.4156 | 0.98854 | 0.11729 |  |  | TRUE | 0.20872 | TRUE | 3 | 22 | [10 empty] | FALSE
26 | C2 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 28.493 | 28.4156 | 0.98685 | 0.11729 |  |  | TRUE | 0.20872 | TRUE | 3 | 23 | [10 empty] | FALSE
27 | C3 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 28.4732 | 28.4156 | 0.97878 | 0.11729 |  |  | TRUE | 0.20872 | TRUE | 3 | 22 | [10 empty] | FALSE
28 | C4 | AA_0771 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
29 | C5 | AA_0771 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
30 | C6 | AA_0771 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
31 | C7 | AA_0691 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
32 | C8 | AA_0691 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
33 | C9 | AA_0691 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
34 | C10 | AA_0697 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
35 | C11 | AA_0697 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
36 | C12 | AA_0697 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
37 | D1 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 31.3743 | 31.3689 | 0.98765 | 0.012486 |  |  | TRUE | 0.20872 | TRUE | 3 | 26 | [10 empty] | FALSE
38 | D2 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 31.3777 | 31.3689 | 0.99043 | 0.012486 |  |  | TRUE | 0.20872 | TRUE | 3 | 26 | [10 empty] | FALSE
39 | D3 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 31.3546 | 31.3689 | 0.98194 | 0.012486 |  |  | TRUE | 0.20872 | TRUE | 3 | 26 | [10 empty] | FALSE
40 | D4 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.6861 | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
41 | D5 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 35.6861 | 35.6861 | 0.85972 |  |  |  | TRUE | 0.04 | TRUE | 3 | 33 | [10 empty] | FALSE
42 | D6 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.6861 | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
43 | D7 | AA_0706 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
44 | D8 | AA_0706 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
45 | D9 | AA_0706 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
46 | D10 | AA_0705 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
47 | D11 | AA_0705 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
48 | D12 | AA_0705 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
49 | E1 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 34.9717 | 34.9847 | 0.97434 | 0.096682 |  |  | TRUE | 0.20872 | TRUE | 3 | 30 | [10 empty] | FALSE
50 | E2 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 34.8952 | 34.9847 | 0.97555 | 0.096682 |  |  | TRUE | 0.20872 | TRUE | 3 | 30 | [10 empty] | FALSE
51 | E3 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 35.0873 | 34.9847 | 0.96159 | 0.096682 |  |  | TRUE | 0.20872 | TRUE | 3 | 30 | [10 empty] | FALSE
52 | E4 | AA_0748 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
53 | E5 | AA_0748 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
54 | E6 | AA_0748 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
55 | E7 | AA_0692 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
56 | E8 | AA_0692 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
57 | E9 | AA_0692 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
58 | E10 | AA_0728 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
59 | E11 | AA_0728 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
60 | E12 | AA_0728 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
61 | F1 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 35.8718 | 36.8089 | 0.97636 | 1.3252 |  |  | TRUE | 0.20872 | TRUE | 3 | 30 | [10 empty] | FALSE
62 | F2 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 37.746 | 36.8089 | 0.93338 | 1.3252 |  |  | TRUE | 0.20872 | TRUE | 3 | 33 | [10 empty] | FALSE
63 | F3 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined | 36.8089 | 0 | 1.3252 |  |  | TRUE | 0.20872 | TRUE | 3 | 39 | [10 empty] | FALSE
64 | F4 | AA_0801 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
65 | F5 | AA_0801 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
66 | F6 | AA_0801 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
67 | F7 | AA_0684 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
68 | F8 | AA_0684 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
69 | F9 | AA_0684 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
70 | F10 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 34.2591 | 34.2591 | 0.85991 |  |  |  | TRUE | 0.04 | TRUE | 3 | 31 | [10 empty] | FALSE
71 | F11 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 34.2591 | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
72 | F12 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 34.2591 | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
73 | G1 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.20872 | TRUE | 3 | 39 | [10 empty] | FALSE
74 | G2 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.20872 | TRUE | 3 | 39 | [10 empty] | FALSE
75 | G3 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.20872 | TRUE | 3 | 39 | [10 empty] | FALSE
76 | G4 | AA_0756 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
77 | G5 | AA_0756 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
78 | G6 | AA_0756 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
79 | G7 | AA_0688 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
80 | G8 | AA_0688 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
81 | G9 | AA_0688 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
82 | G10 | AA_0749 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 34.1646 | 33.6814 | 0.89008 | 1.2036 |  |  | TRUE | 0.04 | TRUE | 3 | 29 | [10 empty] | FALSE
83 | G11 | AA_0749 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.3113 | 33.6814 | 0.92532 | 1.2036 |  |  | TRUE | 0.04 | TRUE | 3 | 28 | [10 empty] | FALSE
84 | G12 | AA_0749 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 34.5684 | 33.6814 | 0.76296 | 1.2036 |  |  | TRUE | 0.04 | TRUE | 3 | 32 | [10 empty] | FALSE
85 | H1 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE
86 | H2 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE
87 | H3 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | [10 empty] | FALSE
88 | H4 | AA_0710 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
89 | H5 | AA_0710 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
90 | H6 | AA_0710 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
91 | H7 | AA_0755 II |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
92 | H8 | AA_0755 II |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
93 | H9 | AA_0755 II |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
94 | H10 | AA_0767 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
95 | H11 | AA_0767 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE
96 | H12 | AA_0767 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.04 | TRUE | 3 | 39 | [10 empty] | FALSE