## Melt Curve Result
File Name | HZ19_ILWE_Crypto_Plate6.eds
Comment
Operator | DEFAULT
Barcode
Instrument Type | QuantStudio™ 1 System
Block Type | 96-Well 0.2-mL Block
Instrument Name | 2721220100840
Instrument Serial Number | 2721220100840
Heated Cover Serial Number
Block Serial Number
Run Start Date/Time | 2021-06-01 09:31:37 AM UTC
Run End Date/Time | 2021-06-01 10:38:58 AM UTC
Run Duration | 67 minutes 21 seconds
Sample Volume | 20.0
Cover Temperature | 105.0
Passive Reference | ROX
PCR Stage/Step Number | Stage 2 Step 2
Melt Stage Number | 3
Quantification Cycle Method | CT
Analysis Date/Time | 2022-09-27 03:54:21 PM UTC
Software Name and Version | Design & Analysis Software v2.6.2
Plugin Name and Version | Primary Analysis v1.7.0, Standard Curve v1.6.0
Exported By | guest
Exported On | 2022-09-27 03:54:32 PM UTC
Well | Well Position | Sample | Target | Tm | Melt Peak Height
1 | A1 | 1x10_6 tyz | Standard Curve | 82.6438 | 889.6877
1 | A1 | 1x10_6 tyz | Standard Curve | 87.9276 | 414.0576
1 | A1 | 1x10_6 tyz | Standard Curve | 79.1716 | 755.1152
1 | A1 | 1x10_6 tyz | Standard Curve | 63.1692 | 1546.4601
1 | A1 | 1x10_6 tyz | Standard Curve | 67.6982 | 1900.2134
2 | A2 | 1x10_6 tyz | Standard Curve | 69.0569 | 1946.8492
2 | A2 | 1x10_6 tyz | Standard Curve | 90.343 | 495.0864
2 | A2 | 1x10_6 tyz | Standard Curve | 79.7754 | 818.1559
2 | A2 | 1x10_6 tyz | Standard Curve | 73.7368 | 1230.0115
2 | A2 | 1x10_6 tyz | Standard Curve | 66.0375 | 1387.269
3 | A3 | 1x10_6 tyz | Standard Curve | 76.6051 | 1094.2245
3 | A3 | 1x10_6 tyz | Standard Curve | 69.9626 | 2021.8392
3 | A3 | 1x10_6 tyz | Standard Curve | 81.2851 | 508.6725
3 | A3 | 1x10_6 tyz | Standard Curve | 84.7573 | 523.2651
3 | A3 | 1x10_6 tyz | Standard Curve | 62.5653 | 1217.8962
4 | A4 | AA_0746 R | Unknown | 87.4747 | 1212.0811
4 | A4 | AA_0746 R | Unknown | 66.9433 | -116.2296
4 | A4 | AA_0746 R | Unknown | 71.9252 | 1595.3542
4 | A4 | AA_0746 R | Unknown | 78.4167 | 1481.5488
4 | A4 | AA_0746 R | Unknown | 61.8105 | -134.0513
5 | A5 | AA_0746 R | Unknown | 87.337 | 2719.1294
5 | A5 | AA_0746 R | Unknown | 66.4938 | 2.5512
5 | A5 | AA_0746 R | Unknown | 78.1237 | 994.9592
5 | A5 | AA_0746 R | Unknown | 83.5611 | 871.1644
5 | A5 | AA_0746 R | Unknown | 62.2648 | 1.5835
6 | A6 | AA_0746 R | Unknown | 88.6964 | 2198.0964
6 | A6 | AA_0746 R | Unknown | 72.2333 | 807.5507
6 | A6 | AA_0746 R | Unknown | 78.4258 | 800.714
6 | A6 | AA_0746 R | Unknown | 66.6449 | -53.3542
6 | A6 | AA_0746 R | Unknown | 61.9627 | -418.3495
7 | A7 | AA_0766 R | Unknown | 78.2748 | 1786.7037
7 | A7 | AA_0766 R | Unknown | 89.6026 | 1425.5513
7 | A7 | AA_0766 R | Unknown | 82.9569 | 406.3288
7 | A7 | AA_0766 R | Unknown | 62.7179 | 498.3065
7 | A7 | AA_0766 R | Unknown | 94.1337 | -239.9966
8 | A8 | AA_0766 R | Unknown | 69.0615 | 1498.0967
8 | A8 | AA_0766 R | Unknown | 71.9312 | 1099.0598
8 | A8 | AA_0766 R | Unknown | 92.9254 | 345.0656
8 | A8 | AA_0766 R | Unknown | 86.7329 | 313.5085
8 | A8 | AA_0766 R | Unknown | 90.2067 | 274.1371
9 | A9 | AA_0766 R | Unknown | 78.5954 | 1576.0389
9 | A9 | AA_0766 R | Unknown | 87.9689 | 575.6289
9 | A9 | AA_0766 R | Unknown | 73.6063 | 1204.6473
9 | A9 | AA_0766 R | Unknown | 66.8029 | 1286.1969
9 | A9 | AA_0766 R | Unknown | 61.965 | 1429.9194
10 | A10 | AA_0845 R | Unknown | 87.6665 | 940.616
10 | A10 | AA_0845 R | Unknown | 93.1092 | 960.7615
10 | A10 | AA_0845 R | Unknown | 73.3039 | 1462.2434
10 | A10 | AA_0845 R | Unknown | 78.7466 | 673.0222
10 | A10 | AA_0845 R | Unknown | 65.2911 | 202.8652
11 | A11 | AA_0845 R | Unknown | 77.2347 | 1297.8057
11 | A11 | AA_0845 R | Unknown | 72.8503 | 1452.5017
11 | A11 | AA_0845 R | Unknown | 70.129 | 1295.2531
11 | A11 | AA_0845 R | Unknown | 89.7831 | 452.7957
11 | A11 | AA_0845 R | Unknown | 85.8523 | 577.4368
12 | A12 | AA_0845 R | Unknown | 69.9778 | 2352.3499
12 | A12 | AA_0845 R | Unknown | 78.293 | 1196.9447
12 | A12 | AA_0845 R | Unknown | 85.2475 | 932.3887
12 | A12 | AA_0845 R | Unknown | 74.0598 | 1880.7177
12 | A12 | AA_0845 R | Unknown | 81.3167 | 714.0073
13 | B1 | 1.25x10_5 tyz | Standard Curve | 86.8708 | 1352.2904
13 | B1 | 1.25x10_5 tyz | Standard Curve | 81.436 | 767.2186
13 | B1 | 1.25x10_5 tyz | Standard Curve | 70.8684 | 2113.5364
13 | B1 | 1.25x10_5 tyz | Standard Curve | 90.645 | 644.9241
13 | B1 | 1.25x10_5 tyz | Standard Curve | 77.209 | 248.9082
14 | B2 | 1.25x10_5 tyz | Standard Curve | 92.9094 | 603.4392
14 | B2 | 1.25x10_5 tyz | Standard Curve | 65.8866 | 1594.6613
14 | B2 | 1.25x10_5 tyz | Standard Curve | 86.7198 | 779.8429
14 | B2 | 1.25x10_5 tyz | Standard Curve | 71.1704 | 2036.5649
14 | B2 | 1.25x10_5 tyz | Standard Curve | 80.3793 | 662.7666
15 | B3 | 1.25x10_5 tyz | Standard Curve | 77.36 | 1080.6052
15 | B3 | 1.25x10_5 tyz | Standard Curve | 88.2295 | 574.3903
15 | B3 | 1.25x10_5 tyz | Standard Curve | 81.8889 | 247.2433
15 | B3 | 1.25x10_5 tyz | Standard Curve | 85.0592 | 169.5027
15 | B3 | 1.25x10_5 tyz | Standard Curve | 63.3201 | 992.4797
16 | B4 | AA_0750 R | Unknown | 71.6233 | 4448.7876
16 | B4 | AA_0750 R | Unknown | 83.2476 | 2996.3496
16 | B4 | AA_0750 R | Unknown | 63.6221 | 3222.4609
16 | B4 | AA_0750 R | Unknown | 87.1727 | 3099.8979
16 | B4 | AA_0750 R | Unknown | 67.2453 | 3393.1697
17 | B5 | AA_0750 R | Unknown | 84.0142 | 5832.874
17 | B5 | AA_0750 R | Unknown | 90.6599 | 2961.8171
17 | B5 | AA_0750 R | Unknown | 63.02 | 2153.0735
17 | B5 | AA_0750 R | Unknown | 93.9827 | 2085.7207
17 | B5 | AA_0750 R | Unknown | 73.2905 | 3279.2971
18 | B6 | AA_0750 R | Unknown | 92.3213 | 5886.249
18 | B6 | AA_0750 R | Unknown | 70.2698 | 3158.9797
18 | B6 | AA_0750 R | Unknown | 87.4881 | 3363.1238
18 | B6 | AA_0750 R | Unknown | 84.3163 | 2901.2571
18 | B6 | AA_0750 R | Unknown | 80.9934 | 2853.6248
19 | B7 | AA_0775 R | Unknown | 87.4881 | 963.8903
19 | B7 | AA_0775 R | Unknown | 83.259 | 466.6175
19 | B7 | AA_0775 R | Unknown | 74.3478 | 1240.238
19 | B7 | AA_0775 R | Unknown | 70.1187 | 1445.1205
19 | B7 | AA_0775 R | Unknown | 63.4731 | 380.9289
20 | B8 | AA_0775 R | Unknown | 69.9677 | 1771.9253
20 | B8 | AA_0775 R | Unknown | 77.3685 | 955.2419
20 | B8 | AA_0775 R | Unknown | 90.2067 | 1169.6698
20 | B8 | AA_0775 R | Unknown | 62.8689 | 36.8
20 | B8 | AA_0775 R | Unknown | 82.3528 | 1126.2289
21 | B9 | AA_0775 R | Unknown | 63.628 | 213.9974
21 | B9 | AA_0775 R | Unknown | 81.6191 | 683.9152
21 | B9 | AA_0775 R | Unknown | 87.213 | 461.1387
21 | B9 | AA_0775 R | Unknown | 89.7831 | 390.2783
21 | B9 | AA_0775 R | Unknown | 73.9086 | 1272.9788
22 | B10 | AA_0854 R | Unknown | 88.4224 | 1537.6974
22 | B10 | AA_0854 R | Unknown | 74.5134 | 1283.0554
22 | B10 | AA_0854 R | Unknown | 93.2604 | 1791.47
22 | B10 | AA_0854 R | Unknown | 78.4442 | 833.3535
22 | B10 | AA_0854 R | Unknown | 84.1892 | 880.3887
23 | B11 | AA_0854 R | Unknown | 81.9215 | 1667.4454
23 | B11 | AA_0854 R | Unknown | 74.6646 | 1490.7323
23 | B11 | AA_0854 R | Unknown | 87.3641 | 1076.0287
23 | B11 | AA_0854 R | Unknown | 63.3257 | -280.1196
23 | B11 | AA_0854 R | Unknown | 77.9906 | 743.3302
24 | B12 | AA_0854 R | Unknown | 74.0598 | 1680.0256
24 | B12 | AA_0854 R | Unknown | 81.7703 | 1174.8665
24 | B12 | AA_0854 R | Unknown | 77.3859 | 1331.5427
24 | B12 | AA_0854 R | Unknown | 68.1636 | -404.0843
24 | B12 | AA_0854 R | Unknown | 87.8177 | 1474.1331
25 | C1 | 1.56x10_4 tyz | Standard Curve | 88.5314 | 1636.5261
25 | C1 | 1.56x10_4 tyz | Standard Curve | 85.0592 | 699.8625
25 | C1 | 1.56x10_4 tyz | Standard Curve | 64.075 | 2078.3452
25 | C1 | 1.56x10_4 tyz | Standard Curve | 77.5109 | 1551.9344
25 | C1 | 1.56x10_4 tyz | Standard Curve | 80.9831 | 1523.0706
26 | C2 | 1.56x10_4 tyz | Standard Curve | 81.587 | 1421.6039
26 | C2 | 1.56x10_4 tyz | Standard Curve | 70.8684 | 2354.4937
26 | C2 | 1.56x10_4 tyz | Standard Curve | 76.7561 | 1493.2911
26 | C2 | 1.56x10_4 tyz | Standard Curve | 93.5133 | 943.0777
26 | C2 | 1.56x10_4 tyz | Standard Curve | 85.5121 | 698.2311
27 | C3 | 1.56x10_4 tyz | Standard Curve | 68.9059 | 2157.104
27 | C3 | 1.56x10_4 tyz | Standard Curve | 81.1341 | 890.0354
27 | C3 | 1.56x10_4 tyz | Standard Curve | 65.1317 | 1740.8223
27 | C3 | 1.56x10_4 tyz | Standard Curve | 88.3805 | 824.5691
27 | C3 | 1.56x10_4 tyz | Standard Curve | 85.2102 | 813.0199
28 | C4 | AA_0752 R | Unknown | 67.3962 | 6008.811
28 | C4 | AA_0752 R | Unknown | 82.3418 | 3784.5144
28 | C4 | AA_0752 R | Unknown | 61.9615 | 2827.449
28 | C4 | AA_0752 R | Unknown | 90.1921 | 3748.2522
28 | C4 | AA_0752 R | Unknown | 75.0955 | 3933.6238
29 | C5 | AA_0752 R | Unknown | 70.8739 | 4370.6182
29 | C5 | AA_0752 R | Unknown | 80.5403 | 3907.6221
29 | C5 | AA_0752 R | Unknown | 76.9154 | 3920.6362
29 | C5 | AA_0752 R | Unknown | 88.9984 | 4124.8496
29 | C5 | AA_0752 R | Unknown | 84.1652 | 3325.4353
30 | C6 | AA_0752 R | Unknown | 90.8109 | 7856.9722
30 | C6 | AA_0752 R | Unknown | 84.4673 | 4683.2979
30 | C6 | AA_0752 R | Unknown | 76.6133 | 4106.2935
30 | C6 | AA_0752 R | Unknown | 72.9884 | 3906.1858
30 | C6 | AA_0752 R | Unknown | 79.6341 | 4070.8018
31 | C7 | AA_0806 R | Unknown | 85.9777 | 1137.1174
31 | C7 | AA_0806 R | Unknown | 61.8117 | 1507.0608
31 | C7 | AA_0806 R | Unknown | 77.2175 | 1326.5012
31 | C7 | AA_0806 R | Unknown | 91.264 | 511.7796
31 | C7 | AA_0806 R | Unknown | 64.8324 | 1015.3098
32 | C8 | AA_0806 R | Unknown | 80.3893 | 1359.822
32 | C8 | AA_0806 R | Unknown | 76.3113 | 1585.7274
32 | C8 | AA_0806 R | Unknown | 88.3943 | 555.3253
32 | C8 | AA_0806 R | Unknown | 66.6449 | 439.6251
32 | C8 | AA_0806 R | Unknown | 83.7121 | 614.0693
33 | C9 | AA_0806 R | Unknown | 69.5243 | 1829.9823
33 | C9 | AA_0806 R | Unknown | 80.1072 | 651.4952
33 | C9 | AA_0806 R | Unknown | 76.0252 | 988.3201
33 | C9 | AA_0806 R | Unknown | 88.4224 | 777.3606
33 | C9 | AA_0806 R | Unknown | 84.794 | 734.8427
34 | C10 | AA_0772 | Unknown | 80.8632 | 1784.6492
34 | C10 | AA_0772 | Unknown | 76.63 | 1640.7297
34 | C10 | AA_0772 | Unknown | 88.1201 | 1973.6067
34 | C10 | AA_0772 | Unknown | 84.3404 | 1498.8845
34 | C10 | AA_0772 | Unknown | 69.2219 | -480.5126
35 | C11 | AA_0772 | Unknown | 76.9324 | 1676.832
35 | C11 | AA_0772 | Unknown | 85.7011 | 1669.8789
35 | C11 | AA_0772 | Unknown | 80.4096 | 1334.4233
35 | C11 | AA_0772 | Unknown | 90.6902 | 1663.2947
35 | C11 | AA_0772 | Unknown | 69.9778 | -44.6349
36 | C12 | AA_0772 | Unknown | 76.7812 | 1449.5979
36 | C12 | AA_0772 | Unknown | 81.3167 | 1593.3214
36 | C12 | AA_0772 | Unknown | 85.2475 | 942.3798
36 | C12 | AA_0772 | Unknown | 88.4224 | 1423.0111
36 | C12 | AA_0772 | Unknown | 66.3494 | -366.5427
37 | D1 | 1.95x10_3 tyz | Standard Curve | 71.9252 | 3238.2429
37 | D1 | 1.95x10_3 tyz | Standard Curve | 87.4747 | 1556.9062
37 | D1 | 1.95x10_3 tyz | Standard Curve | 65.8866 | 2703.2729
37 | D1 | 1.95x10_3 tyz | Standard Curve | 76.7561 | 2155.0767
37 | D1 | 1.95x10_3 tyz | Standard Curve | 79.7754 | 1871.9543
38 | D2 | 1.95x10_3 tyz | Standard Curve | 72.0762 | 2958.2693
38 | D2 | 1.95x10_3 tyz | Standard Curve | 80.3793 | 1994.8141
38 | D2 | 1.95x10_3 tyz | Standard Curve | 87.4747 | 1798.9675
38 | D2 | 1.95x10_3 tyz | Standard Curve | 62.2634 | 2116.6052
38 | D2 | 1.95x10_3 tyz | Standard Curve | 68.1511 | 2308.6086
39 | D3 | 1.95x10_3 tyz | Standard Curve | 72.3781 | 2934.4365
39 | D3 | 1.95x10_3 tyz | Standard Curve | 86.267 | 1848.1246
39 | D3 | 1.95x10_3 tyz | Standard Curve | 68.604 | 2221.8118
39 | D3 | 1.95x10_3 tyz | Standard Curve | 90.9469 | 1047.1301
39 | D3 | 1.95x10_3 tyz | Standard Curve | 64.3769 | 1926.2751
40 | D4 | AA_0753 R | Unknown | 92.7585 | 4201.2178
40 | D4 | AA_0753 R | Unknown | 85.0592 | 1277.2135
40 | D4 | AA_0753 R | Unknown | 88.8334 | 1620.3582
40 | D4 | AA_0753 R | Unknown | 79.4735 | 951.2133
40 | D4 | AA_0753 R | Unknown | 72.982 | -80.35
41 | D5 | AA_0753 R | Unknown | 86.5818 | 3871.0872
41 | D5 | AA_0753 R | Unknown | 79.9362 | 1481.9692
41 | D5 | AA_0753 R | Unknown | 92.3213 | 1585.5386
41 | D5 | AA_0753 R | Unknown | 60.6034 | -2485.8469
41 | D5 | AA_0753 R | Unknown | 69.2125 | -422.5904
42 | D6 | AA_0753 R | Unknown | 91.415 | 2881.3555
42 | D6 | AA_0753 R | Unknown | 84.9204 | 1332.9351
42 | D6 | AA_0753 R | Unknown | 62.8689 | -1687.6448
42 | D6 | AA_0753 R | Unknown | 79.6341 | 1117.3735
42 | D6 | AA_0753 R | Unknown | 73.5926 | 242.9368
43 | D7 | AA_0807 R | Unknown | 64.2283 | 946.2283
43 | D7 | AA_0807 R | Unknown | 85.8266 | 896.1831
43 | D7 | AA_0807 R | Unknown | 70.4208 | 1397.916
43 | D7 | AA_0807 R | Unknown | 73.4416 | 1409.7677
43 | D7 | AA_0807 R | Unknown | 77.0665 | 724.7097
44 | D8 | AA_0807 R | Unknown | 81.1445 | 1567.0553
44 | D8 | AA_0807 R | Unknown | 85.8266 | 1291.4851
44 | D8 | AA_0807 R | Unknown | 68.3063 | 1283.5111
44 | D8 | AA_0807 R | Unknown | 71.327 | 1259.589
44 | D8 | AA_0807 R | Unknown | 91.264 | 855.9789
45 | D9 | AA_0807 R | Unknown | 79.049 | 783.9243
45 | D9 | AA_0807 R | Unknown | 89.4807 | 460.9649
45 | D9 | AA_0807 R | Unknown | 68.466 | 1407.949
45 | D9 | AA_0807 R | Unknown | 64.2328 | 723.8247
45 | D9 | AA_0807 R | Unknown | 72.2456 | 1143.5055
46 | D10 | AA_0714 | Unknown | 79.9561 | 1693.6326
46 | D10 | AA_0714 | Unknown | 87.8177 | 2073.8242
46 | D10 | AA_0714 | Unknown | 90.8414 | 1699.0989
46 | D10 | AA_0714 | Unknown | 85.2475 | 1759.6621
46 | D10 | AA_0714 | Unknown | 74.211 | 278.9835
47 | D11 | AA_0714 | Unknown | 80.2584 | 2144.9573
47 | D11 | AA_0714 | Unknown | 87.0618 | 2368.7754
47 | D11 | AA_0714 | Unknown | 72.8503 | 1325.6201
47 | D11 | AA_0714 | Unknown | 90.6902 | 2034.3066
47 | D11 | AA_0714 | Unknown | 68.9195 | 73.3727
48 | D12 | AA_0714 | Unknown | 81.0144 | 1785.3691
48 | D12 | AA_0714 | Unknown | 85.2475 | 1941.9429
48 | D12 | AA_0714 | Unknown | 91.295 | 2129.5264
48 | D12 | AA_0714 | Unknown | 76.1764 | 1004.1505
48 | D12 | AA_0714 | Unknown | 73.0015 | 716.8323
49 | E1 | 2.44x10_2 tyz | Standard Curve | 88.5314 | 2895.041
49 | E1 | 2.44x10_2 tyz | Standard Curve | 75.6993 | 4207.6582
49 | E1 | 2.44x10_2 tyz | Standard Curve | 69.8117 | 4140.3672
49 | E1 | 2.44x10_2 tyz | Standard Curve | 64.5279 | 3138.46
49 | E1 | 2.44x10_2 tyz | Standard Curve | 61.0557 | 1407.4415
50 | E2 | 2.44x10_2 tyz | Standard Curve | 71.4723 | 4309.5435
50 | E2 | 2.44x10_2 tyz | Standard Curve | 75.3974 | 3179.9438
50 | E2 | 2.44x10_2 tyz | Standard Curve | 82.9457 | 2756.4873
50 | E2 | 2.44x10_2 tyz | Standard Curve | 79.4735 | 2862.9456
50 | E2 | 2.44x10_2 tyz | Standard Curve | 65.2827 | 2521.9919
51 | E3 | 2.44x10_2 tyz | Standard Curve | 67.6982 | 2356.769
51 | E3 | 2.44x10_2 tyz | Standard Curve | 82.0399 | 2273.6912
51 | E3 | 2.44x10_2 tyz | Standard Curve | 85.3612 | 1809.5225
51 | E3 | 2.44x10_2 tyz | Standard Curve | 89.8901 | 1745.0787
51 | E3 | 2.44x10_2 tyz | Standard Curve | 71.7742 | 2533.929
52 | E4 | AA_0754 I R | Unknown | 90.1921 | 5580.9717
52 | E4 | AA_0754 I R | Unknown | 72.68 | 261.3156
52 | E4 | AA_0754 I R | Unknown | 84.1534 | 1895.3988
52 | E4 | AA_0754 I R | Unknown | 93.2114 | 1996.5874
52 | E4 | AA_0754 I R | Unknown | 80.8322 | 1815.5557
53 | E5 | AA_0754 I R | Unknown | 88.2432 | 4196.8242
53 | E5 | AA_0754 I R | Unknown | 75.103 | 882.5599
53 | E5 | AA_0754 I R | Unknown | 84.1652 | 2449.2109
53 | E5 | AA_0754 I R | Unknown | 80.9934 | 1925.9764
53 | E5 | AA_0754 I R | Unknown | 0 | 0
54 | E6 | AA_0754 I R | Unknown | 92.0192 | 4655.6367
54 | E6 | AA_0754 I R | Unknown | 83.259 | 1898.2188
54 | E6 | AA_0754 I R | Unknown | 85.8266 | 2052.918
54 | E6 | AA_0754 I R | Unknown | 64.3793 | -2397.4258
54 | E6 | AA_0754 I R | Unknown | 61.3585 | -2982.8069
55 | E7 | AA_0815 R | Unknown | 92.3213 | 1045.7797
55 | E7 | AA_0815 R | Unknown | 74.4988 | 1809.3213
55 | E7 | AA_0815 R | Unknown | 88.8474 | 625.7488
55 | E7 | AA_0815 R | Unknown | 84.9204 | 460.9166
55 | E7 | AA_0815 R | Unknown | 69.2125 | 875.208
56 | E8 | AA_0815 R | Unknown | 85.2225 | 793.6463
56 | E8 | AA_0815 R | Unknown | 90.0557 | 521.6345
56 | E8 | AA_0815 R | Unknown | 64.5303 | 333.3623
56 | E8 | AA_0815 R | Unknown | 92.7744 | 391.8658
56 | E8 | AA_0815 R | Unknown | 75.5561 | 984.1782
57 | E9 | AA_0815 R | Unknown | 84.794 | 510.096
57 | E9 | AA_0815 R | Unknown | 93.2604 | 460.0915
57 | E9 | AA_0815 R | Unknown | 75.2693 | 1060.3499
57 | E9 | AA_0815 R | Unknown | 88.876 | 227.7312
57 | E9 | AA_0815 R | Unknown | 71.6409 | 1012.7524
58 | E10 | AA_0721 | Unknown | 86.6082 | 2449.8169
58 | E10 | AA_0721 | Unknown | 78.8978 | 2078.7375
58 | E10 | AA_0721 | Unknown | 90.6902 | 2996.5205
58 | E10 | AA_0721 | Unknown | 93.5627 | 2837.6196
58 | E10 | AA_0721 | Unknown | 66.6518 | -1110.3453
59 | E11 | AA_0721 | Unknown | 90.3878 | 2670.406
59 | E11 | AA_0721 | Unknown | 79.3513 | 1745.5774
59 | E11 | AA_0721 | Unknown | 83.7357 | 1956.8035
59 | E11 | AA_0721 | Unknown | 75.4205 | 872.1435
59 | E11 | AA_0721 | Unknown | 61.2091 | -3332.9072
60 | E12 | AA_0721 | Unknown | 83.131 | 1882.9232
60 | E12 | AA_0721 | Unknown | 92.2021 | 2732.5
60 | E12 | AA_0721 | Unknown | 78.8978 | 938.0245
60 | E12 | AA_0721 | Unknown | 86.7594 | 1700.7289
60 | E12 | AA_0721 | Unknown | 72.548 | -485.4805
61 | F1 | 3x10_1 tyz | Standard Curve | 67.8491 | 2148.8411
61 | F1 | 3x10_1 tyz | Standard Curve | 81.8889 | 786.4496
61 | F1 | 3x10_1 tyz | Standard Curve | 64.8298 | 1610.9443
61 | F1 | 3x10_1 tyz | Standard Curve | 73.2839 | 1157.5454
61 | F1 | 3x10_1 tyz | Standard Curve | 91.8527 | 355.0787
62 | F2 | 3x10_1 tyz | Standard Curve | 86.5689 | 1015.2898
62 | F2 | 3x10_1 tyz | Standard Curve | 77.5109 | 1516.7302
62 | F2 | 3x10_1 tyz | Standard Curve | 89.8901 | 833.3084
62 | F2 | 3x10_1 tyz | Standard Curve | 93.2114 | 184.8902
62 | F2 | 3x10_1 tyz | Standard Curve | 70.5665 | 1717.0938
63 | F3 | 3x10_1 tyz | Standard Curve | 77.8129 | 706.268
63 | F3 | 3x10_1 tyz | Standard Curve | 81.738 | 639.9854
63 | F3 | 3x10_1 tyz | Standard Curve | 69.6607 | 1413.3564
63 | F3 | 3x10_1 tyz | Standard Curve | 89.1353 | 368.4977
63 | F3 | 3x10_1 tyz | Standard Curve | 86.267 | 91.4172
64 | F4 | AA_0754 II R | Unknown | 89.4372 | 2920.3835
64 | F4 | AA_0754 II R | Unknown | 83.3986 | 2210.0605
64 | F4 | AA_0754 II R | Unknown | 86.7198 | 2212.4338
64 | F4 | AA_0754 II R | Unknown | 71.7742 | -498.846
64 | F4 | AA_0754 II R | Unknown | 78.7187 | 1191.0754
65 | F5 | AA_0754 II R | Unknown | 84.6183 | 2372.6899
65 | F5 | AA_0754 II R | Unknown | 81.1445 | 2190.3892
65 | F5 | AA_0754 II R | Unknown | 90.3578 | 2926.7156
65 | F5 | AA_0754 II R | Unknown | 76.7644 | 944.2515
65 | F5 | AA_0754 II R | Unknown | 94.2848 | 3247.3064
66 | F6 | AA_0754 II R | Unknown | 89.9047 | 5334.146
66 | F6 | AA_0754 II R | Unknown | 83.259 | 2248.2969
66 | F6 | AA_0754 II R | Unknown | 80.9934 | 2061.3267
66 | F6 | AA_0754 II R | Unknown | 78.2748 | 1425.6704
66 | F6 | AA_0754 II R | Unknown | 0 | 0
67 | F7 | AA_0820 R | Unknown | 72.2333 | 1707.2874
67 | F7 | AA_0820 R | Unknown | 76.6133 | 1251.2527
67 | F7 | AA_0820 R | Unknown | 90.3578 | 638.3024
67 | F7 | AA_0820 R | Unknown | 82.0507 | 817.9589
67 | F7 | AA_0820 R | Unknown | 68.0042 | 909.0861
68 | F8 | AA_0820 R | Unknown | 73.7436 | 1185.1569
68 | F8 | AA_0820 R | Unknown | 79.332 | 751.1459
68 | F8 | AA_0820 R | Unknown | 90.5088 | 457.4895
68 | F8 | AA_0820 R | Unknown | 68.3063 | 588.9535
68 | F8 | AA_0820 R | Unknown | 65.4366 | 393.4344
69 | F9 | AA_0820 R | Unknown | 90.9926 | 570.5615
69 | F9 | AA_0820 R | Unknown | 85.7011 | 124.1717
69 | F9 | AA_0820 R | Unknown | 70.4314 | 1407.8552
69 | F9 | AA_0820 R | Unknown | 79.2001 | 581.1577
69 | F9 | AA_0820 R | Unknown | 74.8158 | 1219.8538
70 | F10 | AA_0737 R | Unknown | 74.9669 | 4238.1318
70 | F10 | AA_0737 R | Unknown | 80.8632 | 1654.9878
70 | F10 | AA_0737 R | Unknown | 94.3187 | 1885.3694
70 | F10 | AA_0737 R | Unknown | 89.4807 | 2226.9341
70 | F10 | AA_0737 R | Unknown | 91.5973 | 2097.2109
71 | F11 | AA_0737 R | Unknown | 82.9798 | 2690.4856
71 | F11 | AA_0737 R | Unknown | 90.0855 | 3318.6582
71 | F11 | AA_0737 R | Unknown | 79.6537 | 1959.7516
71 | F11 | AA_0737 R | Unknown | 73.4551 | 464.1497
71 | F11 | AA_0737 R | Unknown | 61.0579 | -3237.1377
72 | F12 | AA_0737 R | Unknown | 83.131 | 2310.2764
72 | F12 | AA_0737 R | Unknown | 89.1784 | 3095.019
72 | F12 | AA_0737 R | Unknown | 78.5954 | 1328.5422
72 | F12 | AA_0737 R | Unknown | 72.8503 | -124.5066
72 | F12 | AA_0737 R | Unknown | 63.4769 | -3340.395
73 | G1 | 8 tyz | Standard Curve | 64.8298 | 1626.1628
73 | G1 | 8 tyz | Standard Curve | 88.9843 | 1093.8376
73 | G1 | 8 tyz | Standard Curve | 72.2271 | 2224.4045
73 | G1 | 8 tyz | Standard Curve | 69.2078 | 1606.3237
73 | G1 | 8 tyz | Standard Curve | 83.3986 | 775.9733
74 | G2 | 8 tyz | Standard Curve | 88.3805 | 1442.9509
74 | G2 | 8 tyz | Standard Curve | 73.1329 | 2078.4209
74 | G2 | 8 tyz | Standard Curve | 76.9071 | 1325.9724
74 | G2 | 8 tyz | Standard Curve | 67.5472 | 1202.9944
74 | G2 | 8 tyz | Standard Curve | 64.3769 | 1000.2905
75 | G3 | 8 tyz | Standard Curve | 86.8708 | 843.3643
75 | G3 | 8 tyz | Standard Curve | 90.7959 | 534.3004
75 | G3 | 8 tyz | Standard Curve | 73.2839 | 1873.9639
75 | G3 | 8 tyz | Standard Curve | 68.7549 | 664.9575
75 | G3 | 8 tyz | Standard Curve | 80.0774 | 622.3833
76 | G4 | AA_0758 R | Unknown | 89.1353 | 2689.3049
76 | G4 | AA_0758 R | Unknown | 84.1534 | 2171.4268
76 | G4 | AA_0758 R | Unknown | 77.36 | 1088.1929
76 | G4 | AA_0758 R | Unknown | 80.2283 | 1598.3049
76 | G4 | AA_0758 R | Unknown | 92.9094 | 3076.3281
77 | G5 | AA_0758 R | Unknown | 87.4881 | 2617.6548
77 | G5 | AA_0758 R | Unknown | 83.5611 | 2164.5066
77 | G5 | AA_0758 R | Unknown | 93.6806 | 3012.2905
77 | G5 | AA_0758 R | Unknown | 79.9362 | 1909.5364
77 | G5 | AA_0758 R | Unknown | 75.254 | 603.8864
78 | G6 | AA_0758 R | Unknown | 91.5661 | 5387.5898
78 | G6 | AA_0758 R | Unknown | 83.41 | 2617.5286
78 | G6 | AA_0758 R | Unknown | 80.5403 | 2432.9019
78 | G6 | AA_0758 R | Unknown | 0 | 0
78 | G6 | AA_0758 R | Unknown | 0 | 0
79 | G7 | AA_0823 R | Unknown | 88.5453 | 784.5475
79 | G7 | AA_0823 R | Unknown | 66.4938 | 1130.0731
79 | G7 | AA_0823 R | Unknown | 70.5718 | 1317.7119
79 | G7 | AA_0823 R | Unknown | 82.3528 | 449.3158
79 | G7 | AA_0823 R | Unknown | 62.1137 | 1386.6738
80 | G8 | AA_0823 R | Unknown | 90.0557 | 593.6453
80 | G8 | AA_0823 R | Unknown | 93.2275 | 688.0468
80 | G8 | AA_0823 R | Unknown | 67.7021 | 977.3783
80 | G8 | AA_0823 R | Unknown | 78.2748 | 851.3021
80 | G8 | AA_0823 R | Unknown | 83.5611 | 522.3142
81 | G9 | AA_0823 R | Unknown | 91.8997 | 352.0102
81 | G9 | AA_0823 R | Unknown | 87.6665 | 394.3552
81 | G9 | AA_0823 R | Unknown | 65.8958 | 616.5558
81 | G9 | AA_0823 R | Unknown | 79.2001 | 473.717
81 | G9 | AA_0823 R | Unknown | 75.8741 | 665.4386
82 | G10 | AA_0726 R | Unknown | 82.9798 | 1803.9663
82 | G10 | AA_0726 R | Unknown | 91.4461 | 2411.3757
82 | G10 | AA_0726 R | Unknown | 60.9067 | -3180.1467
82 | G10 | AA_0726 R | Unknown | 72.6992 | 122.7902
82 | G10 | AA_0726 R | Unknown | 75.8741 | 767.5286
83 | G11 | AA_0726 R | Unknown | 91.7485 | 3499.0957
83 | G11 | AA_0726 R | Unknown | 81.0144 | 2311.0083
83 | G11 | AA_0726 R | Unknown | 73.4551 | 332.2125
83 | G11 | AA_0726 R | Unknown | 77.0835 | 1155.4305
83 | G11 | AA_0726 R | Unknown | 87.5153 | 2684.2383
84 | G12 | AA_0726 R | Unknown | 91.5973 | 3463.2422
84 | G12 | AA_0726 R | Unknown | 87.0618 | 2894.8369
84 | G12 | AA_0726 R | Unknown | 72.8503 | 445.5629
84 | G12 | AA_0726 R | Unknown | 83.4333 | 2273.3738
84 | G12 | AA_0726 R | Unknown | 77.8395 | 1363.4297
85 | H1 | NTC | NTC | 69.0569 | 3593.1018
85 | H1 | NTC | NTC | 91.5508 | 1259.1008
85 | H1 | NTC | NTC | 74.4916 | 1949.9561
85 | H1 | NTC | NTC | 87.0218 | 816.7743
85 | H1 | NTC | NTC | 82.0399 | 988.3624
86 | H2 | NTC | NTC | 74.6426 | 1361.5516
86 | H2 | NTC | NTC | 70.7175 | 1733.5203
86 | H2 | NTC | NTC | 91.5508 | 495.0369
86 | H2 | NTC | NTC | 79.9264 | 843.6056
86 | H2 | NTC | NTC | 65.5846 | 1212.6635
87 | H3 | NTC | NTC | 77.5109 | 773.0286
87 | H3 | NTC | NTC | 80.5303 | 570.6329
87 | H3 | NTC | NTC | 70.2646 | 1498.088
87 | H3 | NTC | NTC | 86.267 | 482.5062
87 | H3 | NTC | NTC | 88.8334 | 472.2244
88 | H4 | AA_0762 R | Unknown | 81.1341 | 2915.1685
88 | H4 | AA_0762 R | Unknown | 93.2114 | 3889.7097
88 | H4 | AA_0762 R | Unknown | 89.1353 | 3265.1938
88 | H4 | AA_0762 R | Unknown | 70.5665 | -581.7784
88 | H4 | AA_0762 R | Unknown | 86.5689 | 2969.948
89 | H5 | AA_0762 R | Unknown | 82.9569 | 2968.5393
89 | H5 | AA_0762 R | Unknown | 90.2067 | 3548.7793
89 | H5 | AA_0762 R | Unknown | 93.8316 | 3668.8188
89 | H5 | AA_0762 R | Unknown | 76.6133 | 1175.1007
89 | H5 | AA_0762 R | Unknown | 63.6241 | -3900.5269
90 | H6 | AA_0762 R | Unknown | 83.8632 | 2190.6177
90 | H6 | AA_0762 R | Unknown | 87.7901 | 2454.2119
90 | H6 | AA_0762 R | Unknown | 74.6499 | 394.0675
90 | H6 | AA_0762 R | Unknown | 81.2955 | 1870.3558
90 | H6 | AA_0762 R | Unknown | 92.0192 | 3288.6655
91 | H7 | AA_0827 R | Unknown | 75.8582 | 1054.6063
91 | H7 | AA_0827 R | Unknown | 82.2017 | 1018.9601
91 | H7 | AA_0827 R | Unknown | 87.9412 | 1403.6576
91 | H7 | AA_0827 R | Unknown | 63.6241 | -738.7887
91 | H7 | AA_0827 R | Unknown | 71.4781 | -114.1652
92 | H8 | AA_0827 R | Unknown | 78.5768 | 3157.4565
92 | H8 | AA_0827 R | Unknown | 70.5718 | 2440.064
92 | H8 | AA_0827 R | Unknown | 86.5818 | 1387.1309
92 | H8 | AA_0827 R | Unknown | 90.8109 | 1519.4703
92 | H8 | AA_0827 R | Unknown | 81.8997 | 1105.4716
93 | H9 | AA_0827 R | Unknown | 75.4205 | 1481.408
93 | H9 | AA_0827 R | Unknown | 82.9798 | 855.0563
93 | H9 | AA_0827 R | Unknown | 86.457 | 827.5511
93 | H9 | AA_0827 R | Unknown | 63.3257 | -459.8171
93 | H9 | AA_0827 R | Unknown | 68.3148 | -200.0803
94 | H10 | AA_683 R | Unknown | 92.2021 | 3205.9822
94 | H10 | AA_683 R | Unknown | 75.2693 | 581.5378
94 | H10 | AA_683 R | Unknown | 82.6774 | 1832.8776
94 | H10 | AA_683 R | Unknown | 87.8177 | 2858.145
94 | H10 | AA_683 R | Unknown | 90.2367 | 3053.1008
95 | H11 | AA_683 R | Unknown | 77.8395 | 1380.9486
95 | H11 | AA_683 R | Unknown | 92.8068 | 3368.709
95 | H11 | AA_683 R | Unknown | 84.3404 | 2467.3892
95 | H11 | AA_683 R | Unknown | 90.3878 | 3328.6709
95 | H11 | AA_683 R | Unknown | 70.8849 | -760.6143
96 | H12 | AA_683 R | Unknown | 80.2584 | 2143.5579
96 | H12 | AA_683 R | Unknown | 88.2713 | 2705.4438
96 | H12 | AA_683 R | Unknown | 92.3533 | 3278.6602
96 | H12 | AA_683 R | Unknown | 84.3404 | 2123.3157
96 | H12 | AA_683 R | Unknown | 68.1636 | -1069.0813