## Standard Curve Result
File Name | HZ19_ILWE_Crypto_Plate6.eds
Comment
Operator | DEFAULT
Barcode
Instrument Type | QuantStudio™ 1 System
Block Type | 96-Well 0.2-mL Block
Instrument Name | 2721220100840
Instrument Serial Number | 2721220100840
Heated Cover Serial Number
Block Serial Number
Run Start Date/Time | 2021-06-01 09:31:37 AM UTC
Run End Date/Time | 2021-06-01 10:38:58 AM UTC
Run Duration | 67 minutes 21 seconds
Sample Volume | 20.0
Cover Temperature | 105.0
Passive Reference | ROX
PCR Stage/Step Number | Stage 2 Step 2
Melt Stage Number | 3
Quantification Cycle Method | CT
Analysis Date/Time | 2022-09-27 03:54:21 PM UTC
Software Name and Version | Design & Analysis Software v2.6.2
Plugin Name and Version | Primary Analysis v1.7.0, Standard Curve v1.6.0
Exported By | guest
Exported On | 2022-09-27 03:54:33 PM UTC
Well | Well Position | Sample | Quantity | Target | Dye | Task | Reporter | Quencher | Amp Status | Cq | Cq Mean | Cq Confidence | Cq SD | Quantity Mean | Quantity SD | Auto Threshold | Threshold | Auto Baseline | Baseline Start | Baseline End | Tm1 | Tm2 | Tm3 | Tm4 | Y-Intercept | R2 | Slope | Efficiency | Standard Deviation | Standard Error | Omit
1 | A1 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 33.5853 | 33.8734 | 0.74108 | 0.40755 |  |  | TRUE | 0.045964 | TRUE | 3 | 28 | 82.6438 | 87.9276 | 79.1716 | 63.1692 | [6 empty] | FALSE
2 | A2 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 34.1616 | 33.8734 | 0.47423 | 0.40755 |  |  | TRUE | 0.045964 | TRUE | 3 | 30 | 69.0569 | 90.343 | 79.7754 | 73.7368 | [6 empty] | FALSE
3 | A3 | 1x10_6 tyz | 1000000 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined | 33.8734 | 0 | 0.40755 |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 76.6051 | 69.9626 | 81.2851 | 84.7573 | [6 empty] | FALSE
4 | A4 | AA_0746 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 87.4747 | 66.9433 | 71.9252 | 78.4167 | [6 empty] | FALSE
5 | A5 | AA_0746 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 87.337 | 66.4938 | 78.1237 | 83.5611 | [6 empty] | FALSE
6 | A6 | AA_0746 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 88.6964 | 72.2333 | 78.4258 | 66.6449 | [6 empty] | FALSE
7 | A7 | AA_0766 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 78.2748 | 89.6026 | 82.9569 | 62.7179 | [6 empty] | FALSE
8 | A8 | AA_0766 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 69.0615 | 71.9312 | 92.9254 | 86.7329 | [6 empty] | FALSE
9 | A9 | AA_0766 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 78.5954 | 87.9689 | 73.6063 | 66.8029 | [6 empty] | FALSE
10 | A10 | AA_0845 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 87.6665 | 93.1092 | 73.3039 | 78.7466 | [6 empty] | FALSE
11 | A11 | AA_0845 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 77.2347 | 72.8503 | 70.129 | 89.7831 | [6 empty] | FALSE
12 | A12 | AA_0845 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 69.9778 | 78.293 | 85.2475 | 74.0598 | [6 empty] | FALSE
13 | B1 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 38.5591 | 33.9831 | 0.030213 | 3.9679 |  |  | TRUE | 0.045964 | TRUE | 3 | 32 | 86.8708 | 81.436 | 70.8684 | 90.645 | [6 empty] | FALSE
14 | B2 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 31.4959 | 33.9831 | 0.77371 | 3.9679 |  |  | TRUE | 0.045964 | TRUE | 3 | 27 | 92.9094 | 65.8866 | 86.7198 | 71.1704 | [6 empty] | FALSE
15 | B3 | 1.25x10_5 tyz | 125000 | Standard Curve | FAM | STANDARD | FAM | None | Inconclusive | 31.8944 | 33.9831 | 0.78208 | 3.9679 |  |  | TRUE | 0.045964 | TRUE | 3 | 26 | 77.36 | 88.2295 | 81.8889 | 85.0592 | [6 empty] | FALSE
16 | B4 | AA_0750 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.2897 | 32.2937 | 0.9537 | 0.1637 |  |  | TRUE | 0.092648 | TRUE | 3 | 29 | 71.6233 | 83.2476 | 63.6221 | 87.1727 | [6 empty] | FALSE
17 | B5 | AA_0750 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.1321 | 32.2937 | 0.94958 | 0.1637 |  |  | TRUE | 0.092648 | TRUE | 3 | 28 | 84.0142 | 90.6599 | 63.02 | 93.9827 | [6 empty] | FALSE
18 | B6 | AA_0750 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.4594 | 32.2937 | 0.98364 | 0.1637 |  |  | TRUE | 0.092648 | TRUE | 3 | 28 | 92.3213 | 70.2698 | 87.4881 | 84.3163 | [6 empty] | FALSE
19 | B7 | AA_0775 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 87.4881 | 83.259 | 74.3478 | 70.1187 | [6 empty] | FALSE
20 | B8 | AA_0775 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 69.9677 | 77.3685 | 90.2067 | 62.8689 | [6 empty] | FALSE
21 | B9 | AA_0775 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 63.628 | 81.6191 | 87.213 | 89.7831 | [6 empty] | FALSE
22 | B10 | AA_0854 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 88.4224 | 74.5134 | 93.2604 | 78.4442 | [6 empty] | FALSE
23 | B11 | AA_0854 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 81.9215 | 74.6646 | 87.3641 | 63.3257 | [6 empty] | FALSE
24 | B12 | AA_0854 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 74.0598 | 81.7703 | 77.3859 | 68.1636 | [6 empty] | FALSE
25 | C1 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 27.5059 | 28.7487 | 0.90119 | 1.2176 |  |  | TRUE | 0.045964 | TRUE | 3 | 22 | 88.5314 | 85.0592 | 64.075 | 77.5109 | [6 empty] | FALSE
26 | C2 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 29.9394 | 28.7487 | 0.88612 | 1.2176 |  |  | TRUE | 0.045964 | TRUE | 3 | 26 | 81.587 | 70.8684 | 76.7561 | 93.5133 | [6 empty] | FALSE
27 | C3 | 1.56x10_4 tyz | 15625 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 28.8007 | 28.7487 | 0.92174 | 1.2176 |  |  | TRUE | 0.045964 | TRUE | 3 | 26 | 68.9059 | 81.1341 | 65.1317 | 88.3805 | [6 empty] | FALSE
28 | C4 | AA_0752 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 31.7236 | 31.9463 | 0.96331 | 0.23559 |  |  | TRUE | 0.092648 | TRUE | 3 | 27 | 67.3962 | 82.3418 | 61.9615 | 90.1921 | [6 empty] | FALSE
29 | C5 | AA_0752 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 31.9224 | 31.9463 | 0.97682 | 0.23559 |  |  | TRUE | 0.092648 | TRUE | 3 | 27 | 70.8739 | 80.5403 | 76.9154 | 88.9984 | [6 empty] | FALSE
30 | C6 | AA_0752 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 32.193 | 31.9463 | 0.9334 | 0.23559 |  |  | TRUE | 0.092648 | TRUE | 3 | 29 | 90.8109 | 84.4673 | [8 empty] | FALSE
31 | C7 | AA_0806 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 35 | 85.9777 | 61.8117 | 77.2175 | 91.264 | [6 empty] | FALSE
32 | C8 | AA_0806 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 34 | 80.3893 | 76.3113 | 88.3943 | 66.6449 | [6 empty] | FALSE
33 | C9 | AA_0806 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 69.5243 | 80.1072 | 76.0252 | 88.4224 | [6 empty] | FALSE
34 | C10 | AA_0772 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 80.8632 | 76.63 | 88.1201 | 84.3404 | [6 empty] | FALSE
35 | C11 | AA_0772 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 76.9324 | 85.7011 | 80.4096 | 90.6902 | [6 empty] | FALSE
36 | C12 | AA_0772 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 76.7812 | 81.3167 | 85.2475 | 88.4224 | [6 empty] | FALSE
37 | D1 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 30.6241 | 30.3907 | 0.96903 | 0.39414 |  |  | TRUE | 0.045964 | TRUE | 3 | 28 | 71.9252 | 87.4747 | 65.8866 | 76.7561 | [6 empty] | FALSE
38 | D2 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 29.9356 | 30.3907 | 0.97085 | 0.39414 |  |  | TRUE | 0.045964 | TRUE | 3 | 27 | 72.0762 | 80.3793 | 87.4747 | 62.2634 | [6 empty] | FALSE
39 | D3 | 1.95x10_3 tyz | 1953 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 30.6123 | 30.3907 | 0.95714 | 0.39414 |  |  | TRUE | 0.045964 | TRUE | 3 | 27 | 72.3781 | 86.267 | 68.604 | 90.9469 | [6 empty] | FALSE
40 | D4 | AA_0753 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 92.7585 | 85.0592 | [8 empty] | FALSE
41 | D5 | AA_0753 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 86.5818 | 79.9362 | [8 empty] | FALSE
42 | D6 | AA_0753 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 91.415 | [9 empty] | FALSE
43 | D7 | AA_0807 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 64.2283 | 85.8266 | 70.4208 | 73.4416 | [6 empty] | FALSE
44 | D8 | AA_0807 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 81.1445 | 85.8266 | 68.3063 | 71.327 | [6 empty] | FALSE
45 | D9 | AA_0807 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 79.049 | 89.4807 | 68.466 | 64.2328 | [6 empty] | FALSE
46 | D10 | AA_0714 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 36.4024 | 0 | 0.52498 |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 79.9561 | 87.8177 | 90.8414 | 85.2475 | [6 empty] | FALSE
47 | D11 | AA_0714 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 36.7736 | 36.4024 | 0.51983 | 0.52498 |  |  | TRUE | 0.092648 | TRUE | 3 | 33 | 80.2584 | 87.0618 | 72.8503 | 90.6902 | [6 empty] | FALSE
48 | D12 | AA_0714 |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 36.0312 | 36.4024 | 0.73839 | 0.52498 |  |  | TRUE | 0.092648 | TRUE | 3 | 31 | 81.0144 | 85.2475 | 91.295 | 76.1764 | [6 empty] | FALSE
49 | E1 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 33.7288 | 34.2133 | 0.93723 | 0.69471 |  |  | TRUE | 0.045964 | TRUE | 3 | 31 | 88.5314 | 75.6993 | 69.8117 | 64.5279 | [6 empty] | FALSE
50 | E2 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 35.0092 | 34.2133 | 0.96799 | 0.69471 |  |  | TRUE | 0.045964 | TRUE | 3 | 32 | 71.4723 | 75.3974 | 82.9457 | 79.4735 | [6 empty] | FALSE
51 | E3 | 2.44x10_2 tyz | 244 | Standard Curve | FAM | STANDARD | FAM | None | Amp | 33.9019 | 34.2133 | 0.96691 | 0.69471 |  |  | TRUE | 0.045964 | TRUE | 3 | 29 | 67.6982 | 82.0399 | 85.3612 | 89.8901 | [6 empty] | FALSE
52 | E4 | AA_0754 I R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 90.1921 | [9 empty] | FALSE
53 | E5 | AA_0754 I R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 88.2432 | [9 empty] | FALSE
54 | E6 | AA_0754 I R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 92.0192 | [9 empty] | FALSE
55 | E7 | AA_0815 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 92.3213 | 74.4988 | 88.8474 | 84.9204 | [6 empty] | FALSE
56 | E8 | AA_0815 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 85.2225 | 90.0557 | 64.5303 | 92.7744 | [6 empty] | FALSE
57 | E9 | AA_0815 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 84.794 | 93.2604 | 75.2693 | 88.876 | [6 empty] | FALSE
58 | E10 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 86.6082 | 78.8978 | 90.6902 | 93.5627 | [6 empty] | FALSE
59 | E11 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 90.3878 | 79.3513 | 83.7357 | 75.4205 | [6 empty] | FALSE
60 | E12 | AA_0721 |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 83.131 | 92.2021 | 78.8978 | 86.7594 | [6 empty] | FALSE
61 | F1 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 67.8491 | 81.8889 | 64.8298 | 73.2839 | [6 empty] | FALSE
62 | F2 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 86.5689 | 77.5109 | 89.8901 | 93.2114 | [6 empty] | FALSE
63 | F3 | 3x10_1 tyz | 30 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 77.8129 | 81.738 | 69.6607 | 89.1353 | [6 empty] | FALSE
64 | F4 | AA_0754 II R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 89.4372 | 83.3986 | 86.7198 | 71.7742 | [6 empty] | FALSE
65 | F5 | AA_0754 II R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 84.6183 | 81.1445 | [8 empty] | FALSE
66 | F6 | AA_0754 II R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 89.9047 | [9 empty] | FALSE
67 | F7 | AA_0820 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 72.2333 | 76.6133 | 90.3578 | 82.0507 | [6 empty] | FALSE
68 | F8 | AA_0820 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 73.7436 | 79.332 | 90.5088 | 68.3063 | [6 empty] | FALSE
69 | F9 | AA_0820 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 90.9926 | 85.7011 | 70.4314 | 79.2001 | [6 empty] | FALSE
70 | F10 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 74.9669 | 80.8632 | [8 empty] | FALSE
71 | F11 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 82.9798 | 90.0855 | 79.6537 | 73.4551 | [6 empty] | FALSE
72 | F12 | AA_0737 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 83.131 | 89.1784 | 78.5954 | 72.8503 | [6 empty] | FALSE
73 | G1 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 64.8298 | 88.9843 | 72.2271 | 69.2078 | [6 empty] | FALSE
74 | G2 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 88.3805 | 73.1329 | 76.9071 | 67.5472 | [6 empty] | FALSE
75 | G3 | 8 tyz | 8 | Standard Curve | FAM | STANDARD | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.045964 | TRUE | 3 | 39 | 86.8708 | 90.7959 | 73.2839 | 68.7549 | [6 empty] | FALSE
76 | G4 | AA_0758 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 89.1353 | 84.1534 | 77.36 | 80.2283 | [6 empty] | FALSE
77 | G5 | AA_0758 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 87.4881 | 83.5611 | 93.6806 | 79.9362 | [6 empty] | FALSE
78 | G6 | AA_0758 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 91.5661 | [9 empty] | FALSE
79 | G7 | AA_0823 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 88.5453 | 66.4938 | 70.5718 | 82.3528 | [6 empty] | FALSE
80 | G8 | AA_0823 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 90.0557 | 93.2275 | 67.7021 | 78.2748 | [6 empty] | FALSE
81 | G9 | AA_0823 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 91.8997 | 87.6665 | 65.8958 | 79.2001 | [6 empty] | FALSE
82 | G10 | AA_0726 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 82.9798 | 91.4461 | 60.9067 | 72.6992 | [6 empty] | FALSE
83 | G11 | AA_0726 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 91.7485 | 81.0144 | 73.4551 | 77.0835 | [6 empty] | FALSE
84 | G12 | AA_0726 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 91.5973 | 87.0618 | 72.8503 | 83.4333 | [6 empty] | FALSE
85 | H1 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | 69.0569 | 91.5508 | 74.4916 | 87.0218 | [6 empty] | FALSE
86 | H2 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | 74.6426 | 70.7175 | 91.5508 | 79.9264 | [6 empty] | FALSE
87 | H3 | NTC |  | NTC | FAM | NTC | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.2 | TRUE | 3 | 39 | 77.5109 | 80.5303 | 70.2646 | 86.267 | [6 empty] | FALSE
88 | H4 | AA_0762 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 81.1341 | 93.2114 | 89.1353 | 70.5665 | [6 empty] | FALSE
89 | H5 | AA_0762 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 82.9569 | 90.2067 | 93.8316 | 76.6133 | [6 empty] | FALSE
90 | H6 | AA_0762 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 83.8632 | 87.7901 | 74.6499 | 81.2955 | [6 empty] | FALSE
91 | H7 | AA_0827 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.9003 | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 75.8582 | 82.2017 | 87.9412 | 63.6241 | [6 empty] | FALSE
92 | H8 | AA_0827 R |  | Unknown | FAM | UNKNOWN | FAM | None | Amp | 35.9003 | 35.9003 | 0.93533 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 30 | 78.5768 | 70.5718 | 86.5818 | 90.8109 | [6 empty] | FALSE
93 | H9 | AA_0827 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined | 35.9003 | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 75.4205 | 82.9798 | 86.457 | 63.3257 | [6 empty] | FALSE
94 | H10 | AA_683 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 92.2021 | 75.2693 | 82.6774 | 87.8177 | [6 empty] | FALSE
95 | H11 | AA_683 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 77.8395 | 92.8068 | 84.3404 | 90.3878 | [6 empty] | FALSE
96 | H12 | AA_683 R |  | Unknown | FAM | UNKNOWN | FAM | None | No Amp | Undetermined |  | 0 |  |  |  | TRUE | 0.092648 | TRUE | 3 | 39 | 80.2584 | 88.2713 | 92.3533 | 84.3404 | [6 empty] | FALSE